## Slide 1: Nuclear power more profitable than coal if funded with low cost capital: A South-African case study
HTR-2014 Conference, Weihai, China. Paper HTR 2014-1-11183, 28 October 2014
Dr. Dawid E. Serfontein
School of Mechanical and Nuclear Engineering,
North-West University, South Africa.

## Slide 2: Acknowledgement:
This work is based upon research supported by the South African Research Chairs Initiative of the Department of Science and Technology and National Research Foundation.
Prof. P.W. Stoker for introducing me to the basics of economic modelling. However, responsibility for any errors is solely my own.

## Slide 3: Introduction
South Africa's Integrated Energy Plan (IEP) and Integrated Resource Plan for Electricity (IRP Update) lay excellent foundations: very comprehensive set of data and sophisticated modelling tools.
However, I reviewed both documents for NIASA: Found a number of flaws in the both, which skewed their results against nuclear.
Implementation would impact negatively on South Africa’s economy and energy security.

## Slide 4: Problem Statement
The problem to be solved is to improve these model input assumptions in order to produce LCOEs and other measures of profitability that will more accurately reflect the realities of the South African power market.
  Fairly allocate external and hidden costs.
  Use a realistic range of WACC% etc.

## Slide 5: Research Aims and Objectives
Investigate the sensitivity of the profitability of nuclear and coal power plants to variations in the economic model input assumptions.
Produce appropriate ranges for these input model assumptions.
Based on these more realistic input assumptions, produce a range of LCOEs and other measures of profitability that will accurately reflect the realities of South Africa’s power market.

## Slide 6: Research Aims and Objectives (continued)
Produce recommendations for a more profitable power plant construction strategy for South Africa, based on these simulation results.

## Slide 7: Simulation Methods
An economic model for each plant was created in an Excel spreadsheet.
All simulations were normalised to 1 kW installed “name plate” power generation capacity
Cash flows were created according to the cost and other data provided in the Tables 18 and 19 of the IRP Update, as modified below.
All cash flows are expressed in constant 2012 Rands.

## Slide 8: Simulation Methods (continued)
It was assumed that Government invested 100% of the capital costs in the form of equity.
  The WACC% thus became identical to the Rate of Return demanded by Government on its capital investment.
  The % return on capital invested was calculated for each case by applying Excel’s standard Internal Rate of Return (IRR) function to each cash flow stream.

## Slide 9: Simulation Methods (continued)
  The selling price of electricity was then varied until the resulting Rate of Return corresponded to the assumed WACC%, for a range of WACC percentages. Levellised Cost of Electricity (LCOE) = this selling price (excluding transmission and distribution)
  The post-tax return was replaced with the pre-tax return, in order to replace the perspective of a private investor with the societal perspective (Conservative measure).

## Slide 10: Modelling Input Assumptions
(Also explaining business case for nuclear.)
Nuclear plants twice as expensive as coal, but
last for 60 years, vs. 30 years for coal.
Much lower nuclear fuel cost than coal.
Load factor = 92%, vs. 85% for coal. (WACC% expected to be the deciding factor.)

## Slide 11: Modelling Input Assumptions (continued)
External cost of nuclear:
  Unrealistically high cost of $1.6 Trillion for of a Fukushima-style nuclear accident assumed. (Evacuation costs contributed about 80% of this cost.)
  Actual risk of such nuclear accidents for Generation III (and Generation IV) nuclear plants have been reduced by roughly a factor 100.

## Slide 12: Modelling Input Assumptions (continued)
External cost of nuclear (continued):
  Resulting LCOE of such nuclear accident risk = R 0.005/kWh.
  Assumed a new ring-fenced specialised global nuclear insurance scheme for Generation III and IV plants only.
  Insurance premium ≈ R 0.01/kWh (≈ $c 0.1/kWh).
  US Nuclear Waste Fee = $0.001/kWh ≈ R 0.008/kWh.
  Total environmental levy ≈ R 0.018/kWh (≈ $c 0.2/kWh).
  +15 % Refurbishment costs at 35 years
  +15% Decommissioning cost at year 60 (≈ R0.01 ≈ $c 0.1/kWh).

## Slide 13: Modelling Input Assumptions (continued)
External cost of coal:
  Health costs, i.e. the costs from death and morbidity due to the adverse health effects of poisonous chemicals released in the smoke of coal-fired power stations.
  + Global climate change due to global warming caused the release of CO2.
  Acid mine drainage water and the large number of pollutants which leach from coal mines and from the coal ash dumps.
  Took lowest value from ExternE study for Europe = R 0.26/kWh (≈ $c 3/kWh).

## Slide 14: Modelling Input Assumptions (continued)
External cost of coal (continued):
  Actual external costs for South Africa may be lower than R 0.26/kWh (≈ $c 3/kWh) due to lower population densities and prevailing wind directions: Uncertainty is large!

## Slide 15: Modelling Input Assumptions (continued)
Nuclear: Always full external costs + Owner Costs = 17% of Overnight cost (ONC).
  Expected case: ONC = $5,800/kW.
  Pessimistic case: ONC = $7,000/kW.
Coal: Always 20% Owner Costs +
  Expected Case: External cost = only R120/ton CO2 tax = R 0.11/kWh (≈ $c 1.3 /kWh)
  Pessimistic case: Full external costs = R 0.26/kWh (≈ $c 3/kWh).

## Slide 16: Modelling Input Assumptions (continued)
Coal fuel costs: The constant fuel cost of coal of R 0.172/kWh from the IRP Update was then escalated to export parity price (R 0.375/kWh) by increasing it by 5% real per year for 16 years, starting in 2013, after which it was kept constant.
This may be overly pessimistic as reduced energy demand, due to a future economic recession, may limit coal price increases.

## Slide 17: Modelling Input Assumptions (continued)
Expected Cases: Construction CAPEX Schedules from EPRI-Report for single plants in a fleet:
  Nuclear = 6 years.
  Coal = 4 years.
Pessimistic Cases: First-of-a-kind: CAPEX schedules were doubled to
  12 years for nuclear and
  8 years for coal.

## Slide 18: Results

## Slide 20: Interpretation of chart
Real WACC% values can be categorised as follows:
3% ≈ real interest rate on Government debt= Minimum acceptable Rate of Return on Government investment for break-even.
5% = Limit on Rate of Return Eskom's capital, set by NERSA.
8.3% = New WACC demanded by Government for IEP.
Acceptable range: 5 < WACC% < 8.3.

## Slide 23: Interpretation of chart
Nominal profit is much higher for nuclear, for all values of the electricity price.
This is because the capital cost of nuclear is about twice that of coal: for the same Rate of return%, nuclear will thus supply about double the nominal profit.
However if availability of capital is the main concern, this result is not relevant as this extra profit will come at the expense of twice the amount of capital.

## Slide 24: Conclusions
Expected Nuclear will produce electricity more profitable than coal, if:
  Funded with low cost capital ( e.g. 5.1% pre-tax WACC) or the
  Electricity price drops below R0.88/kWh, i.e. during over supply. (That is because Nuclear break-even generation cost 45% lower than for coal!)
External cost of New Nuclear (Decommissioning + Nuclear Waste + Accident insurance) = R0.04/kWh = 6 times lower than that of coal (R0.26/kWh)!

## Slide 25: Strategy for South Africa
Deploy nuclear as its long lead-time cheap base-load technology: Target minimum expected baseload demand only.
Immediately add peaking technologies (e.g. gas turbines, fueled with imported Liquefied Natural Gas (LNG)).
Add shorter lead-time technologies when shortages loom.

## Slide 26: International Conclusions
These good results for nuclear depends on:
  $5,800/kW ONC and
  Low 5% WACC%, which is not realistic for private companies in liberated markets.
Nuclear can thus start off with state support (e.g. Hinckley Point), but to become sustainable ONC need to come down below ≈ $5,000/kW through mass production.

## Slide 27: International Conclusions
Internalising externalities of all technologies (including intermittency costs of renewables) is key.
Getting a ring-fenced full nuclear accident cost covering insurance scheme going for Generation III and IV nuclear is feasible and is key!
Political risk for nuclear must be reduced through guarantees against political interference. This will reduce cost of capital.

## Slide 28
Thank you!
Any questions or comments?